## Index
Emissions Factors | SHEET NUMBER
Historical Annual Average Emissions Factors (2015-2024) | 1
Historical Hourly Average Emissions Factors (2015-2024) | 2
Forecasted Average Emissions Factors (2025-2050) | 3
Historical Monthly and Annual Percentage Gas on the Margin (2015–2024) | 4
Historical Annual Marginal Emissions Factors (2015-2024) | 5
Historical Monthly Marginal Emissions Factors (2015-2024) | 6
Forecasted Annual and Seasonal Percentage Gas on the Margin (2025-2040) | 7
Forecasted Annual Marginal Emissions Factors (2025-2040) | 8
Forecasted Seasonal Marginal Emissions Factors (2026-2040) | 9
Natural Gas Consumption Intensity (2015-2050) | 10
Ontario Grid Emissions (Historic and Projected) | 11
Examples
Estimating emissions reductions from retrofits (Example 4) | 12
Solar Photovoltaic (Example 5) | 13

## 1
Historical Annual Average Emissions Factors (2015-2024), gCO2eq/kWh
Year | Annual AEF
2015 | 46
2016 | 40
2017 | 18
2018 | 29
2019 | 29
2020 | 35
2021 | 43
2022 | 49
2023 | 59
2024 | 73

## 2
Historical Hourly Average Emissions Factors (2015-2024), gCO2eq/kWh
Hour | Hourly AEF
| 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015
1 | 49 | 34 | 24 | 19 | 15 | 14 | 13 | 10 | 26 | 32
2 | 44 | 30 | 23 | 18 | 14 | 13 | 12 | 10 | 25 | 31
3 | 44 | 30 | 23 | 19 | 15 | 13 | 12 | 10 | 25 | 31
4 | 46 | 33 | 25 | 22 | 17 | 15 | 14 | 11 | 26 | 33
5 | 52 | 38 | 30 | 26 | 21 | 17 | 17 | 12 | 28 | 35
6 | 60 | 45 | 35 | 31 | 25 | 21 | 21 | 13 | 31 | 38
7 | 67 | 52 | 42 | 35 | 28 | 25 | 25 | 15 | 34 | 41
8 | 72 | 57 | 47 | 39 | 31 | 28 | 27 | 16 | 36 | 44
9 | 75 | 61 | 51 | 43 | 34 | 30 | 30 | 17 | 38 | 45
10 | 77 | 64 | 53 | 45 | 37 | 32 | 31 | 18 | 40 | 46
11 | 78 | 65 | 55 | 48 | 40 | 33 | 33 | 19 | 41 | 48
12 | 79 | 65 | 55 | 49 | 41 | 34 | 34 | 19 | 42 | 49
13 | 80 | 66 | 55 | 50 | 43 | 34 | 34 | 20 | 42 | 50
14 | 80 | 66 | 56 | 51 | 44 | 35 | 35 | 21 | 44 | 51
15 | 80 | 67 | 57 | 52 | 45 | 35 | 36 | 22 | 45 | 51
16 | 82 | 69 | 60 | 53 | 46 | 36 | 38 | 23 | 47 | 52
17 | 86 | 71 | 62 | 55 | 47 | 37 | 39 | 24 | 48 | 53
18 | 88 | 73 | 64 | 56 | 47 | 38 | 40 | 24 | 49 | 54
19 | 88 | 73 | 64 | 55 | 46 | 38 | 40 | 24 | 49 | 54
20 | 87 | 72 | 62 | 51 | 43 | 37 | 38 | 23 | 49 | 53
21 | 86 | 70 | 59 | 47 | 39 | 34 | 35 | 21 | 47 | 52
22 | 80 | 64 | 51 | 39 | 32 | 29 | 29 | 18 | 43 | 47
23 | 69 | 53 | 40 | 30 | 25 | 22 | 21 | 15 | 35 | 41
24 | 58 | 43 | 30 | 23 | 18 | 16 | 15 | 12 | 29 | 35

## 3
Forecasted Average Emissions Factors (2025-2050), gCO2eq/kWh
Year | Annual AEF
2025* | 75
2026 | 81
2027 | 124
2028 | 113
2029 | 113
2030 | 106
2031 | 98
2032 | 67
2033 | 54
2034 | 48
2035 | 44
2036 | 49
2037 | 50
2038 | 54
2039 | 65
2040 | 50
2041 | 44
2042 | 35
2043 | 29
2044 | 20
2045 | 17
2046 | 10
2047 | 5
2048 | 4
2049 | 3
2050 | 3
* The 2025 value is calculated using the actual 2025 IESO electricity generation outputs for the first half of the year.

## 4
Historical Monthly and Annual Percentage of Time Gas Was on the Margin (2015–2024)
Year | January | February | March | April | May | June | July | August | September | October | November | December | Annual
2015 | 69% | 85% | 31% | 15% | 16% | 28% | 53% | 50% | 77% | 62% | 15% | 13% | 43%
2016 | 27% | 18% | 11% | 5% | 25% | 40% | 53% | 71% | 39% | 22% | 34% | 33% | 31%
2017 | 32% | 27% | 23% | 4% | 2% | 5% | 21% | 29% | 40% | 5% | 19% | 39% | 20%
2018 | 53% | 36% | 29% | 46% | 15% | 30% | 70% | 73% | 51% | 18% | 36% | 43% | 42%
2019 | 54% | 72% | 70% | 20% | 11% | 8% | 68% | 47% | 33% | 12% | 46% | 45% | 40%
2020 | 31% | 48% | 39% | 3% | 11% | 39% | 65% | 63% | 40% | 28% | 12% | 41% | 35%
2021 | 49% | 61% | 31% | 3% | 19% | 55% | 57% | 80% | 43% | 57% | 70% | 72% | 50%
2022 | 82% | 71% | 70% | 28% | 33% | 40% | 80% | 79% | 71% | 71% | 48% | 74% | 63%
2023 | 77% | 47% | 65% | 40% | 35% | 83% | 80% | 81% | 81% | 73% | 89% | 87% | 71%
2024 | 83% | 85% | 79% | 71% | 73% | 67% | 79% | 78% | 76% | 72% | 76% | 76% | 76%

## 5
Historical Annual Marginal Emissions Factors (2015-2024), gCO2eq/kWh
Year | Annual MEF
2015 | 190
2016 | 143
2017 | 84
2018 | 181
2019 | 178
2020 | 180
2021 | 241
2022 | 288
2023 | 312
2024 | 343

## 6
Historical Monthly Marginal Emissions Factors (2015-2024), gCO2eq/kWh
Year | January | February | March | April | May | June | July | August | September | October | November | December
2015 | 306 | 379 | 138 | 69 | 72 | 125 | 236 | 224 | 341 | 277 | 67 | 58
2016 | 124 | 81 | 48 | 24 | 113 | 182 | 244 | 327 | 177 | 103 | 156 | 153
2017 | 134 | 111 | 94 | 17 | 9 | 20 | 88 | 120 | 166 | 21 | 81 | 161
2018 | 231 | 158 | 125 | 201 | 65 | 132 | 306 | 317 | 223 | 79 | 155 | 187
2019 | 237 | 315 | 308 | 90 | 47 | 37 | 300 | 207 | 145 | 55 | 203 | 197
2020 | 161 | 247 | 200 | 15 | 59 | 198 | 334 | 324 | 206 | 146 | 62 | 212
2021 | 236 | 293 | 152 | 16 | 93 | 265 | 274 | 387 | 207 | 275 | 336 | 349
2022 | 378 | 324 | 320 | 127 | 149 | 182 | 366 | 361 | 324 | 326 | 218 | 339
2023 | 342 | 209 | 289 | 178 | 154 | 369 | 352 | 356 | 358 | 323 | 395 | 384
2024 | 376 | 382 | 356 | 318 | 329 | 303 | 355 | 352 | 341 | 326 | 341 | 341

## 7
Forecasted Annual and Seasonal percentage gas on the margin (2025-2040), gCO2eq/kWh
Year | Annual Average | Summer On Peak | Summer Mid Peak | Summer Off Peak | Shoulder Mid Peak | Shoulder Off Peak | Winter On Peak | Winter Mid Peak | Winter Off Peak
2025* | 87.1% | NA | NA | NA | NA | NA | NA | NA | NA
2026 | 98% | 97% | 98% | 96% | 99% | 98% | 100% | 100% | 100%
2027 | 100% | 100% | 100% | 100% | 100% | 99% | 100% | 100% | 100%
2028 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
2029 | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
2030 | 100% | 99% | 99% | 99% | 100% | 100% | 100% | 100% | 100%
2031 | 100% | 99% | 99% | 99% | 100% | 100% | 100% | 100% | 100%
2032 | 99% | 97% | 97% | 98% | 99% | 99% | 100% | 100% | 100%
2033 | 98% | 100% | 99% | 98% | 93% | 96% | 100% | 100% | 100%
2034 | 94% | 89% | 88% | 89% | 92% | 96% | 100% | 99% | 100%
2035 | 93% | 89% | 89% | 90% | 89% | 92% | 99% | 98% | 99%
2036 | 92% | 94% | 93% | 93% | 81% | 88% | 100% | 99% | 100%
2037 | 94% | 93% | 89% | 93% | 86% | 93% | 100% | 99% | 99%
2038 | 94% | 97% | 95% | 95% | 86% | 89% | 100% | 99% | 100%
2039 | 97% | 99% | 99% | 97% | 92% | 94% | 100% | 100% | 100%
2040 | 83% | 81% | 80% | 76% | 75% | 76% | 91% | 90% | 97%
*Note: TAF estimated the percentage of time natural gas would be on the margin in 2025 by interpolating between the 2024 and 2026 values provided by IESO.

## 8
Forecasted Annual Marginal Emissions Factors (2025-2040), gCO2eq/kWh
Year | MEF
2025* | 392
2026 | 349
2027 | 434
2028 | 442
2029 | 382
2030 | 397
2031 | 366
2032 | 307
2033 | 294
2034 | 268
2035 | 352
2036 | 364
2037 | 382
2038 | 370
2039 | 380
2040 | 314
*Note: TAF estimated the percentage of time natural gas would be on the margin in 2025 by interpolating between the 2024 and 2026 values provided by IESO.

## 9
Forecasted Seasonal Marginal Emissions Factors (2026-2040), gCO2eq/kWh
Year | Summer On Peak | Summer Mid Peak | Summer Off Peak | Shoulder Mid Peak | Shoulder Off Peak | Winter On Peak | Winter Mid Peak | Winter Off Peak
2026 | 345 | 349 | 342 | 352 | 349 | 356 | 356 | 356
2027 | 434 | 434 | 434 | 434 | 430 | 434 | 434 | 434
2028 | 442 | 442 | 442 | 442 | 442 | 442 | 442 | 442
2029 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382
2030 | 393 | 393 | 393 | 397 | 397 | 397 | 397 | 397
2031 | 362 | 362 | 362 | 366 | 366 | 366 | 366 | 366
2032 | 301 | 301 | 304 | 307 | 307 | 311 | 311 | 311
2033 | 300 | 297 | 294 | 279 | 288 | 300 | 300 | 300
2034 | 253 | 251 | 253 | 262 | 273 | 285 | 282 | 285
2035 | 336 | 336 | 340 | 336 | 348 | 374 | 371 | 374
2036 | 372 | 368 | 368 | 321 | 348 | 396 | 392 | 396
2037 | 378 | 361 | 378 | 349 | 378 | 406 | 402 | 402
2038 | 382 | 374 | 374 | 339 | 350 | 394 | 390 | 394
2039 | 388 | 388 | 380 | 361 | 368 | 392 | 392 | 392
2040 | 306 | 302 | 287 | 284 | 287 | 344 | 340 | 367

## 10
Natural Gas Consumption Intensity (Including gas plants emission intensity and transmission & distribution losses), gCO2eq/kWh
Year | Natural Gas Consumption Intensity
2015 | 446 | Notes: 1. Factors for 2015–2023 are based on the NIR report. 2. Factors for 2024 and 2025 are estimated using the average of 2022 and 2023. 3. Forecasted factors for 2026–2050 are derived from the IESO APO 2025 emissions module, by dividing the Ontario electricity sector emissions forecasts by gas energy production forecasts.
2016 | 459
2017 | 417
2018 | 435
2019 | 439
2020 | 514
2021 | 482
2022 | 459
2023 | 442
2024 | 451
2025 | 451
2026 | 356
2027 | 434
2028 | 442
2029 | 382
2030 | 397
2031 | 366
2032 | 311
2033 | 300
2034 | 285
2035 | 378
2036 | 396
2037 | 406
2038 | 394
2039 | 392
2040 | 378
2041 | 335
2042 | 270
2043 | 181
2044 | 136
2045 | 138
2046 | 108
2047 | 68
2048 | 81
2049 | 81
2050 | 88

## 11
Ontario Grid Emissions (Historic and Projected), Mt
Note: Figure A1 in the Ontario Electricity Emissions Factors and Guidelines report is based on the below data.
Year | TAF 2025 | IESO APO 2025 | IESO APO 2024 (As Is) | IESO APO 2024 (High Nuclear) | IESO Six graph 2024
2015 | 6.3243 | 6.3 | 6 |  | 6
2016 | 5.6199 | 5.6 | 6 |  | 6
2017 | 2.596 | 2.6 | 3 |  | 3
2018 | 4.1591 | 4.2 | 4 |  | 4
2019 | 3.9659 | 4 | 4 |  | 4
2020 | 4.3 | 4.3 | 4 |  | 4
2021 | 4.6 | 4.6 | 4 |  | 4
2022 | 5.1 | 5.1
2023 | 8.0454
2024 | 10.5193 |  |  |  | 3
2025 | 11.5568 | 6.4 | 9.0307 | 9.0307 | 4
2026 | 11.7 | 11.7 | 16 | 12 | 6
2027 | 19 | 19 | 21 | 21 | 9
2028 | 18.7 | 18.7 | 20 | 20 | 8
2029 | 19.7 | 19.7 | 18 | 18 | 9
2030 | 19.1 | 19.1 | 18 | 18 | 8
2031 | 18.2 | 18.2 | 17 | 16 | 9
2032 | 12.6 | 12.6 | 15 | 14 | 9
2033 | 10.4 | 10.4 | 14 | 13 | 9
2034 | 9.3 | 9.3 | 12 | 11 | 9
2035 | 8.9 | 8.9 | 8 | 8 | 8
2036 | 10.2 | 10.2 | 5 | 5 | 8
2037 | 10.7 | 10.7 | 4 | 4 | 8
2038 | 11.6 | 11.6 | 4 | 4 | 8
2039 | 14.3 | 14.3 | 4 | 4 | 7
2040 | 11.1 | 11.1 | 1 | 1 | 4
2041 | 10 | 10 | 0 | 0 | 3
2042 | 7.9 | 7.9 | 0 | 0 | 3
2043 | 6.6 | 6.6 | 0 | 0 | 2
2044 | 4.6 | 4.6 | 0 | 0 | 2
2045 | 4.1 | 4.1 | 0 | 0 | 2
2046 | 2.4 | 2.4 | 0 | 0 | 2
2047 | 1.2 | 1.2 | 0 | 0 | 2
2048 | 1.1 | 1.1 | 0 | 0 | 2
2049 | 0.8 | 0.8 | 0 | 0 | 2
2050 | 0.7 | 0.7 | 0 | 0 | 2

## 12
Estimating emissions reductions from retrofits (Example 4 in report)
Estimate the total emissions associated with two proposed retrofit options for a large residential building using forecasted emission factors.
Scenarios |  | Building Energy Consumption (kWh)
|  | Electricity Consumption (kWh) |  | Natural Gas Consumption (m3)
Baseline Performance: Natural gas boilers, hydronic baseboard heaters) |  | 1600000 |  | 323810
Option 1 Fuel Switching: Improved lighting and appliances, heat pumps for space heating and hot water, double-glazed windows |  | 3300000 |  | 9524
Option 2 Comprehensive Retrofit: Improved lighting and appliances, heat pumps for space heating and hot water, over cladding, triple-glazed windows, solar panels |  | 2950000 |  | -
Natural Gas Emissions factor, g/m³ |  | 1931.3
Year | AEF, gCO2eq/kWh | Natural Gas Emission (t) |  |  | Electricity Emission (t) |  |  | Total Emissions (t)
|  | Baseline | Option 1 | Option 2 | Baseline | Option 1 | Option 2 | Baseline | Option 1 | Option 2
2025 | 75.4842 | 625.3743 | 18.3937 | 0 | 120.7747 | 249.0978 | 222.6783 | 746.1489 | 267.4915 | 222.6783
2026 | 81.2293 | 625.3743 | 18.3937 | 0 | 129.9669 | 268.0567 | 239.6264 | 755.3411 | 286.4504 | 239.6264
2027 | 124.012 | 625.3743 | 18.3937 | 0 | 198.4192 | 409.2395 | 365.8353 | 823.7934 | 427.6332 | 365.8353
2028 | 112.6133 | 625.3743 | 18.3937 | 0 | 180.1812 | 371.6238 | 332.2091 | 805.5555 | 390.0175 | 332.2091
2029 | 113.0158 | 625.3743 | 18.3937 | 0 | 180.8253 | 372.9521 | 333.3966 | 806.1995 | 391.3458 | 333.3966
2030 | 105.6802 | 625.3743 | 18.3937 | 0 | 169.0883 | 348.7447 | 311.7566 | 794.4626 | 367.1384 | 311.7566
2031 | 98.2079 | 625.3743 | 18.3937 | 0 | 157.1327 | 324.0861 | 289.7134 | 782.5069 | 342.4798 | 289.7134
2032 | 67.3235 | 625.3743 | 18.3937 | 0 | 107.7176 | 222.1676 | 198.6044 | 733.0919 | 240.5613 | 198.6044
2033 | 54.2392 | 625.3743 | 18.3937 | 0 | 86.7828 | 178.9895 | 160.0057 | 712.157 | 197.3832 | 160.0057
2034 | 47.5915 | 625.3743 | 18.3937 | 0 | 76.1465 | 157.0521 | 140.3951 | 701.5207 | 175.4458 | 140.3951
2035 | 44.0955 | 625.3743 | 18.3937 | 0 | 70.5527 | 145.515 | 130.0816 | 695.927 | 163.9087 | 130.0816
2036 | 49.1947 | 625.3743 | 18.3937 | 0 | 78.7115 | 162.3425 | 145.1243 | 704.0858 | 180.7362 | 145.1243
2037 | 50.4892 | 625.3743 | 18.3937 | 0 | 80.7827 | 166.6143 | 148.9431 | 706.1569 | 185.008 | 148.9431
2038 | 53.5763 | 625.3743 | 18.3937 | 0 | 85.722 | 176.8017 | 158.05 | 711.0963 | 195.1954 | 158.05
2039 | 65.2176 | 625.3743 | 18.3937 | 0 | 104.3481 | 215.218 | 192.3918 | 729.7224 | 233.6117 | 192.3918
2040 | 49.7901 | 625.3743 | 18.3937 | 0 | 79.6642 | 164.3074 | 146.8809 | 705.0385 | 182.7011 | 146.8809
2041 | 44.3089 | 625.3743 | 18.3937 | 0 | 70.8943 | 146.2195 | 130.7114 | 696.2686 | 164.6132 | 130.7114
2042 | 34.5823 | 625.3743 | 18.3937 | 0 | 55.3317 | 114.1217 | 102.0179 | 680.706 | 132.5154 | 102.0179
2043 | 28.6614 | 625.3743 | 18.3937 | 0 | 45.8582 | 94.5825 | 84.551 | 671.2324 | 112.9762 | 84.551
2044 | 19.6627 | 625.3743 | 18.3937 | 0 | 31.4604 | 64.8871 | 58.0051 | 656.8346 | 83.2808 | 58.0051
2045 | 17.3217 | 625.3743 | 18.3937 | 0 | 27.7147 | 57.1616 | 51.099 | 653.089 | 75.5553 | 51.099
2046 | 9.9847 | 625.3743 | 18.3937 | 0 | 15.9756 | 32.9496 | 29.455 | 641.3498 | 51.3433 | 29.455
2047 | 4.9358 | 625.3743 | 18.3937 | 0 | 7.8974 | 16.2883 | 14.5608 | 633.2716 | 34.682 | 14.5608
2048 | 4.4739 | 625.3743 | 18.3937 | 0 | 7.1582 | 14.7638 | 13.1979 | 632.5325 | 33.1575 | 13.1979
2049 | 3.2296 | 625.3743 | 18.3937 | 0 | 5.1674 | 10.6578 | 9.5274 | 630.5417 | 29.0515 | 9.5274
2050 | 2.7745 | 625.3743 | 18.3937 | 0 | 4.4393 | 9.156 | 8.1849 | 629.8135 | 27.5497 | 8.1849
[6 empty] | Total Lifetime |  | 18438.4441 | 4971.8329 | 4017.003
Scenarios |  | Total Emissions (t) 2025-2050
Baseline Performance |  | 18438.4441
Option 1 Fuel Switching |  | 4971.8329
Option 2 Comprehensive Retrofit |  | 4017.003

## 13
Solar Photovoltaic (Example 5)
Estimate the impact of installing a residential rooftop solar photovoltaic system.
Step 1: Estimate blended short-run MEFs for operational impact
Using an estimated solar production profile mapped against the forecasted seasonal MEFs, we estimated the blended short-run factors for 2026-2035. Note that the Solar Production Allocation factors are below are for demonstration purposes only, and should be replaced with a user's own estimates of production during each period.
*User can modify cells below*
Type | Short-Run MEF (gCO2eq/kWh) | [9 empty] | Solar Production Allocation (%)
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Summer On Peak | 345 | 434 | 442 | 382 | 393 | 362 | 301 | 300 | 253 | 336 | 30
Summer Mid Peak | 349 | 434 | 442 | 382 | 393 | 362 | 301 | 297 | 251 | 336 | 15
Summer Off Peak | 342 | 434 | 442 | 382 | 393 | 362 | 304 | 294 | 253 | 340 | 5
Shoulder Mid Peak | 352 | 434 | 442 | 382 | 397 | 366 | 307 | 279 | 262 | 336 | 20
Shoulder Off Peak | 349 | 430 | 442 | 382 | 397 | 366 | 307 | 288 | 273 | 348
Winter On Peak | 356 | 434 | 442 | 382 | 397 | 366 | 311 | 300 | 285 | 374 | 10
Winter Mid Peak | 356 | 434 | 442 | 382 | 397 | 366 | 311 | 300 | 282 | 371 | 15
Winter Off Peak | 356 | 434 | 442 | 382 | 397 | 366 | 311 | 300 | 285 | 374 | 5
Blended Short-Run MEF* | 350.15 | 434 | 442 | 382 | 395 | 364 | 305.35 | 295.05 | 263.65 | 347.15 | --
* These values differ slightly from the average annual MEF due to the specifics of the solar adoption example.
Step 2: Use the forecasted annual AEFs as a proxy for long-run MEFs to estimate impact of grid supply capacity.
Year | Forecasted Annual AEF (gCO2eq/kWh)
2026 | 81
2027 | 124
2028 | 113
2029 | 113
2030 | 106
2031 | 98
2032 | 67
2033 | 54
2034 | 48
2035 | 44
Step 3: Use a weighted average of short-run and long-run factors to estimate overall impact for the next 10 years.
We assume that solar completely displaces operational resources on the margin in its first two years of operation, and then starts to influence long-term grid supply decisions over time. The assumed Operational Weighting Factor represents to what extent solar production in that year displaces operational output (as opposed to new grid supply).
Year | Assumed Emissions Factor (gCO2eq/kWh) |  |  | Weighted Factor
| Short-Run Factor (Operational) | Long-Run Factor (Grid Capacity) | Operational Weighting
2026 | 350.15 | 81 | 100% | 350.15
2027 | 434 | 124 | 100% | 434
2028 | 442 | 113 | 95% | 425.55
2029 | 382 | 113 | 90% | 355.1
2030 | 395 | 106 | 85% | 351.65
2031 | 364 | 98 | 80% | 310.8
2032 | 305.35 | 67 | 75% | 245.7625
2033 | 295.05 | 54 | 70% | 222.735
2034 | 263.65 | 48 | 65% | 188.1725
2035 | 347.15 | 44 | 60% | 225.89
Average |  |  |  | 310.981
Assuming that the average solar panel in Toronto outputs 1,163 kWh for each kW of capacity, we estimate the total carbon emissions avoided over a 10-year period:
Total carbon emissions | 36.1671 | tCO2eq
Note that most solar panels have an operational lifetime of at least 25 years, and any full assessment of the carbon reduction potential of solar PV should reflect that. We have provided a simplified example here as a starting point to illustrate the complexity of evaluating these types of investments.
While there remains significant uncertainty as to which resource will be displaced by distributed solar beyond the next decade, a practitioner could apply a multiple of 1.5 or 2.0 to the above value to estimate the impact over the entire 25-year lifetime of the system.